# AP08A-PUMP to AW06A-TKR-G draft procedure data:

**Route List:** Valves in route (reference only):  
AP08A-PUMP  
AP08A-WT-V-108  
APVP-WT-V-618  
APVP-WT-V-608  
APVP-WT-V-606  
APVP-WT-V-620  
APVP-WT-V-610  
APVP-WT-V-807  
AW02A-WT-V-115  
AW02A-WT-V-114  
AW02A-WT-V-112  
AW02A-WT-V-113  
AWVPB-WT-V-224  
AWVPB-WT-V-223  
AWVPB-WT-V-222  
AWVPB-WT-V-221  
AW06A-WT-V-607  
AW06A-WT-V-606  
AW06A-TKR-G

**Section 5.5.3 heaters:** Replace existing data with the following:  
AP08A-WT-HTR-436 ET-202084  
APVP-WT-HTR-454 ET-202085  
APVP-WT-HTR-455 ET-202085  
APVP-WT-HTR-456 ET-202085  
AW02A-WT-HTR-463 ET-202087  
AWVPB-WT-HTR-460 ET-202095

**Steps 5.17.9:** Replace existing data with the following:  
PUMP PIT 241 AP 08A  
VALVE PIT 241-AP-VP  
CENTRAL PUMP PIT 241-AW-02A  
241-AW-B  
CENTRAL PUMP PIT 241-AW-06A

**Checklist 1:** Replace list with:  
AP08A **Jumper:** ????  
APVP **Jumper:** 21, 22, D, K  
APVP **Jumper:** 13, N, C  
AW02A **Jumper:** ????  
AWVPB **Jumper:** ????  
AW06A **Jumper:** ????

**Checklist 3:**

**Checklist 4:**

**Checklist 5:**

**Checklist 6:**

**Checklist 7 - Tank pit/Structure Leak Detection**

**Checklist 7 - TFSPS Temperature Equipment Checks**  
AP08A-WT-TIT-439A ET-201705  
AP08A-WT-TIT-439B ET-201706  
AP08A-WT-TIT-439C ET-201707  
APVP-WT-TIT-211A ET-200801  
APVP-WT-TIT-211B ET-200802  
APVP-WT-TIT-211C ET-200803  
AW02A-WT-TIT-215A ET-200812  
AW02A-WT-TIT-215B ET-200813  
AW02A-WT-TIT-215C ET-200814  
AWVPB-WT-TIT-221A ET-200830  
AWVPB-WT-TIT-221B ET-200831  
AWVPB-WT-TIT-221C ET-200832

**Checklist 7 - Drain Seal Assemblies:**  
PUMP PIT 241 AP 08A FLOOR DRAIN CLOSED  
VALVE PIT 241-AP-VP FDP-131 CLOSED  
CENTRAL PUMP PIT 241-AW-02A FLOOR DRAIN CLOSED  
241-AW-B FLOOR DRAIN CLOSED  
CENTRAL PUMP PIT 241-AW-06A FLOOR DRAIN CLOSED

**Checklist 7 - NACE Inspection:**  
241-AP-08A ET-202084  
241-AP-VP ET-202085  
241-AW-02A ET-202087  
241-AW-VPB ET-202095  
241-AW-06A ET-202093

**Test:** (Valve Positions Test)  
AP08A-WT-V-108 BLOCK AP08A-TKR-E  
APVP-WT-V-618 OPEN   
APVP-WT-V-608 BLOCK APVP-WT-V-607  
APVP-WT-V-606 BLOCK APVP-WT-V-616  
APVP-WT-V-620 OPEN   
APVP-WT-V-610 OPEN   
APVP-WT-V-807 OPEN   
AW02A-WT-V-115 OPEN   
AW02A-WT-V-114 BLOCK AW02A-WT-V-116  
AW02A-WT-V-112 OPEN   
AW02A-WT-V-113 OPEN   
AWVPB-WT-V-224 OPEN   
AWVPB-WT-V-223 BLOCK AWVPB-WT-V-225  
AWVPB-WT-V-222 OPEN   
AWVPB-WT-V-221 OPEN   
AW06A-WT-V-607 OPEN