# AY01A-PUMP to AW02A-WT-TKR-101-2 draft procedure data:

**Route List:** Valves in route (reference only):  
AY01A-PUMP  
AY01A-WT-V-102  
AY01A-WT-V-103  
AZVP-WT-V-223  
AZVP-WT-V-227  
AZVP-WT-V-224  
AP02D-WT-V-253  
AP02D-WT-V-250  
AP02A-WT-V-272  
AP02A-WT-V-271  
AP02A-WT-V-273  
AP02A-WT-V-274  
APVP-WT-V-612  
APVP-WT-V-602  
APVP-WT-V-601  
APVP-WT-V-603  
APVP-WT-V-619  
APVP-WT-V-609  
APVP-WT-V-806  
AW02A-WT-V-117  
AW02A-WT-V-116  
AW02A-WT-V-118  
AW02A-WT-TKR-101-2

**Section 5.5.3 heaters:** Replace existing data with the following:  
AZVP-WT-HTR-457 ET-201527  
AZVP-WT-HTR-458 ET-201527  
AP02D-WT-HTR-440 ET-202077  
AP02A-WT-HTR-441 ET-202076  
APVP-WT-HTR-454 ET-202085  
APVP-WT-HTR-455 ET-202085  
APVP-WT-HTR-456 ET-202085  
AW02A-WT-HTR-463 ET-202087

**Steps 5.17.9:** Replace existing data with the following:  
241-AY-01A  
241-AZ-VP  
241-AP-02D  
PUMP PIT 241-AP-02A  
VALVE PIT 241-AP-VP  
CENTRAL PUMP PIT 241-AW-02A

**Checklist 1:** Replace list with:  
AY01A **Jumper:** ????  
AZVP **Jumper:** ????  
AP02D **Jumper:** ????  
AP02A **Jumper:** ????  
APVP **Jumper:** 19, 20, J  
APVP **Jumper:** 17, H, 18, J  
APVP **Jumper:** 14, M, P  
AW02A **Jumper:** K, V, Y, 2

**Checklist 3:**

**Checklist 4:**

**Checklist 5:**

**Checklist 6:**

**Checklist 7 - Tank pit/Structure Leak Detection**

**Checklist 7 - TFSPS Temperature Equipment Checks**  
AY01A-WT-TIT-223A ET-200834  
AY01A-WT-TIT-223B ET-200835  
AY01A-WT-TIT-223C ET-200836  
AZVP-WT-TIT-231A ET-200849  
AZVP-WT-TIT-231B ET-200850  
AZVP-WT-TIT-231C ET-200851  
AP02D-WT-TIT-209A ET-200789  
AP02D-WT-TIT-209B ET-200790  
AP02D-WT-TIT-209C ET-200791  
AP02A-WT-TIT-205A ET-201708  
AP02A-WT-TIT-205B ET-201709  
AP02A-WT-TIT-205C ET-201710  
APVP-WT-TIT-211A ET-200801  
APVP-WT-TIT-211B ET-200802  
APVP-WT-TIT-211C ET-200803  
AW02A-WT-TIT-215A ET-200812  
AW02A-WT-TIT-215B ET-200813  
AW02A-WT-TIT-215C ET-200814

**Checklist 7 - Drain Seal Assemblies:**  
241-AY-01A FLOOR DRAIN CLOSED  
241-AZ-VP FLOOR DRAIN INSERTED  
241-AP-02D FLOOR DRAIN CLOSED  
PUMP PIT 241-AP-02A FLOOR DRAIN CLOSED  
VALVE PIT 241-AP-VP FDP-131 CLOSED  
CENTRAL PUMP PIT 241-AW-02A FLOOR DRAIN CLOSED

**Checklist 7 - NACE Inspection:**  
241-AY-01A ET-202096  
241-AZ-VP ET-201527  
241-AP-02D ET-202077  
241-AP-02A ET-202076  
241-AP-VP ET-202085  
241-AW-02A ET-202087

**Test:** (Valve Positions Test)  
AY01A-WT-V-102 BLOCK AY01A-TKR-D  
AY01A-WT-V-103 OPEN   
AZVP-WT-V-223 OPEN   
AZVP-WT-V-227 BLOCK AZVP-WT-V-228  
AZVP-WT-V-224 OPEN   
AP02D-WT-V-253 OPEN   
AP02D-WT-V-250   
AP02A-WT-V-272 OPEN   
AP02A-WT-V-271 BLOCK AP02A-WT-V-602  
AP02A-WT-V-273 BLOCK AP02A-TKR-E  
AP02A-WT-V-274 OPEN   
APVP-WT-V-612 OPEN   
APVP-WT-V-602 BLOCK APVP-WT-V-614  
APVP-WT-V-601 BLOCK APVP-WT-V-611  
APVP-WT-V-603 BLOCK APVP-WT-V-613  
APVP-WT-V-619 OPEN   
APVP-WT-V-609 OPEN   
APVP-WT-V-806 OPEN   
AW02A-WT-V-117 OPEN   
AW02A-WT-V-116 BLOCK AW02A-WT-V-114

**Route List:** Valves in route (reference only):  
AY01A-PUMP  
AY01A-WT-V-102  
AY01A-WT-V-103  
AZVP-WT-V-223  
AZVP-WT-V-227  
AZVP-WT-V-224  
AP02D-WT-V-253  
AP02D-WT-V-250  
AP02A-WT-V-272  
AP02A-WT-V-271  
AP02A-WT-V-273  
AP02A-WT-V-274  
APVP-WT-V-612  
APVP-WT-V-602  
APVP-WT-V-601  
APVP-WT-V-603  
APVP-WT-V-619  
APVP-WT-V-803  
APVP-WT-V-804  
APVP-WT-V-610  
APVP-WT-V-807  
AW02A-WT-V-115  
AW02A-WT-V-114  
AW02A-WT-V-116  
AW02A-WT-V-118  
AW02A-WT-TKR-101-2

**Section 5.5.3 heaters:** Replace existing data with the following:  
AZVP-WT-HTR-457 ET-201527  
AZVP-WT-HTR-458 ET-201527  
AP02D-WT-HTR-440 ET-202077  
AP02A-WT-HTR-441 ET-202076  
APVP-WT-HTR-454 ET-202085  
APVP-WT-HTR-455 ET-202085  
APVP-WT-HTR-456 ET-202085  
AW02A-WT-HTR-463 ET-202087

**Steps 5.17.9:** Replace existing data with the following:  
241-AY-01A  
241-AZ-VP  
241-AP-02D  
PUMP PIT 241-AP-02A  
VALVE PIT 241-AP-VP  
CENTRAL PUMP PIT 241-AW-02A

**Checklist 1:** Replace list with:  
AY01A **Jumper:** ????  
AZVP **Jumper:** ????  
AP02D **Jumper:** ????  
AP02A **Jumper:** ????  
APVP **Jumper:** 19, 20, J  
APVP **Jumper:** 17, H, 18, J  
APVP **Jumper:** 14, M, P  
APVP **Jumper:** N, P, L  
APVP **Jumper:** 13, N, C  
AW02A **Jumper:** ????  
AW02A **Jumper:** K, V, Y, 2

**Checklist 3:**

**Checklist 4:**

**Checklist 5:**

**Checklist 6:**

**Checklist 7 - Tank pit/Structure Leak Detection**

**Checklist 7 - TFSPS Temperature Equipment Checks**  
AY01A-WT-TIT-223A ET-200834  
AY01A-WT-TIT-223B ET-200835  
AY01A-WT-TIT-223C ET-200836  
AZVP-WT-TIT-231A ET-200849  
AZVP-WT-TIT-231B ET-200850  
AZVP-WT-TIT-231C ET-200851  
AP02D-WT-TIT-209A ET-200789  
AP02D-WT-TIT-209B ET-200790  
AP02D-WT-TIT-209C ET-200791  
AP02A-WT-TIT-205A ET-201708  
AP02A-WT-TIT-205B ET-201709  
AP02A-WT-TIT-205C ET-201710  
APVP-WT-TIT-211A ET-200801  
APVP-WT-TIT-211B ET-200802  
APVP-WT-TIT-211C ET-200803  
AW02A-WT-TIT-215A ET-200812  
AW02A-WT-TIT-215B ET-200813  
AW02A-WT-TIT-215C ET-200814

**Checklist 7 - Drain Seal Assemblies:**  
241-AY-01A FLOOR DRAIN CLOSED  
241-AZ-VP FLOOR DRAIN INSERTED  
241-AP-02D FLOOR DRAIN CLOSED  
PUMP PIT 241-AP-02A FLOOR DRAIN CLOSED  
VALVE PIT 241-AP-VP FDP-131 CLOSED  
CENTRAL PUMP PIT 241-AW-02A FLOOR DRAIN CLOSED

**Checklist 7 - NACE Inspection:**  
241-AY-01A ET-202096  
241-AZ-VP ET-201527  
241-AP-02D ET-202077  
241-AP-02A ET-202076  
241-AP-VP ET-202085  
241-AW-02A ET-202087

**Test:** (Valve Positions Test)  
AY01A-WT-V-102 BLOCK AY01A-TKR-D  
AY01A-WT-V-103 OPEN   
AZVP-WT-V-223 OPEN   
AZVP-WT-V-227 BLOCK AZVP-WT-V-228  
AZVP-WT-V-224 OPEN   
AP02D-WT-V-253 OPEN   
AP02D-WT-V-250   
AP02A-WT-V-272 OPEN   
AP02A-WT-V-271 BLOCK AP02A-WT-V-602  
AP02A-WT-V-273 BLOCK AP02A-TKR-E  
AP02A-WT-V-274 OPEN   
APVP-WT-V-612 OPEN   
APVP-WT-V-602 BLOCK APVP-WT-V-614  
APVP-WT-V-601 BLOCK APVP-WT-V-611  
APVP-WT-V-603 BLOCK APVP-WT-V-613  
APVP-WT-V-619 OPEN   
APVP-WT-V-803 OPEN   
APVP-WT-V-804   
APVP-WT-V-610 OPEN   
APVP-WT-V-807 OPEN   
AW02A-WT-V-115 OPEN   
AW02A-WT-V-114 BLOCK AW02A-WT-V-112  
AW02A-WT-V-116 BLOCK AW02A-WT-V-117